## Sheet1
Department of Education
BUREAU OF LEARNING RESOURCES - CEBU
MONITORING TOOL - SCIENCE EQUIPMENT (GRADES 7 to 10)
Name of School: __________________________________________________ |  |  | School ID No.: _____________ Division: ________________ Region: ________
Name of School Head: _____________________________________________ |  |  | Name of Property Custodian: ______________________________
Name of Informant: _______________________________________________
Instruction to the Monitoring Team/Property Custodian/Laboratory Teacher/Teacher
Name of Tool/Equipment/Learners' Material |  | In the space provided below marked with a ✔️if the equipment and/or learners' material has been received and marked with X if it was not. | In the space provided below, write the number of the equipment and/or learners' material that has been received. |  | Of the total number received, how many are … (marked with a ✔️in the choices you made. You can have more than one choice.) | [5 empty] | Do you need training on the use of the equipment/ learners' material?
[5 empty] | In good working condition? | In need of repair? | Broken? | Un-serviceable? | Lost? | Others, specify in the space provided below.
1 | Advanced Electromagnetism Kit |  |  | kit
2 - Bar Magnets: Alnico type, 150mm x 12mm x 8 mm
6 - Magnetic compass, 20mm diameter
2 - U-Magnets, Alnico, 6mm x 16mm cross section x 100mm long; jaw opening 50mm
1 - Magnetic field mapper - 9cm x 16cm clear transparent casing; contains iron filings immersed in transformer oil, should clearly show magnetic lines
1 - Spool magnet wire (enamel coated) #20, 100ft
2 - Copper wire solid, #14, insulated, 15 each cm long
3 - Wood blocks 1" x 3" x 4" with pilot holes that run throughtcenter of block
2 | Air Blower, variable speed control |  |  | unit
3 | Alcohol Burner, glass, 150ml., capacity |  |  | pc
4 | Alcohol Thermometer, -20℃ to 110℃ |  |  | pc
5 | Aluminium Rod, solid, Ø 6mm (minimum) x 300mm long (Conductor) |  |  | pc
6 | Aneroid Barometer Set (demonstration type) |  |  | unit
7 | Aneroid Barometer Set (wall type) |  |  | unit
8 | Animal Cell Chart, tarpaulin, 660mm x 500 mm |  |  | pc
9 | Archimedes Principle Set |  |  | set
10 | AWG #18 stranded wire connector, blue, 250mmL with alligator clips at both ends |  |  | pc
11 | AWG #18 stranded wire connector, red, 250mmL with alligator clips at both ends |  |  | pc
12 | AWG #18 wire, black, 250mm long with alligator clips at both ends |  |  | lh
13 | AWG #18 wire, black, 500mm long with alligator clips at both ends |  |  | lh
14 | AWG #18 wire, red, 250mm long with alligator clips at both ends |  |  | lh
15 | AWG #18 wire, red, 500mm long with alligator clips at both ends |  |  | lh
16 | Baking Soda (NaHCO3), 200 grams/bottle |  |  | bottle
17 | Balance, Triple-Beam |  |  | unit
18 | Balance, Triple-Beam, 2610-gram capacity |  |  | unit
19 | Bar Magnet 6" x 3/4" x 1/4" |  |  | pc
20 | Basic Electronics Kit |  |  | kit
a) Resistors: 1 assembly 1000 Ω, 2 watts; 1 assembly 2000 Ω, 2 watts; 1 assembly 10 kΩ, 2 watts; 1 assemly 100 kΩ, 2 watts
b) Rectifier Diodes, IN 4002: 4 assemblies
c) LED, large size - 1 assembly, white
d) NPN transistor, 2N3440 or 2N3439 or equivalent - 1 assembly
e) Capacitor 1500 µF, 25V - 1 assembly
f) Variable Resistor, large, rotary, carbon, 5 kΩ, mono - 1 assembly
21 | Basic Lens Set (set of 6 lenses) |  |  | set
22 | Beaker, 100ml, borosilicate |  |  | pc
23 | Beaker, 1000ml |  |  | pc
24 | Beaker, 250ml, borosilicate |  |  | pc
25 | Beaker, 50ml, borosilicate |  |  | pc
26 | Beaker, 500ml, polypropylene plastic |  |  | pc
27 | Beaker, 600ml, borosilicate |  |  | pc
28 | Benedict's Solution, 100ml/bottle |  |  | bottle
29 | Boric Acid, 100 grams/bottle |  |  | bottle
30 | Bromthymol blue, 100ml/bottle |  |  | bottle
31 | Bulldog Type Clip, small, 1 inch |  |  | pc
32 | Bunsen Burner, gas-type |  |  | unit
33 | Calcium Chloride, 100grams/bottle |  |  | bottle
34 | Cart-Rail System (includes dynamic Carts, Motorized Cart, Rails, etc.) |  |  | set
35 | Case 001 (with Cover and Base Sheathing) |  |  | pc
36 | Case 002 (with Cover and Base Sheathing) |  |  | pc
37 | Case 003 (with Cover and Base Sheathing) |  |  | pc
38 | C-Clamp with hook |  |  | pc
39 | Celestial Globe |  |  | unit
40 | Chart on Electromagnetic Spectrum, 750mm x 1000mm, tarpaulin |  |  | pc
41 | Chart on Periodic Table of Elements, tarpaulin, 36" x 72" |  |  | pc
42 | Chart on Radioactive Elements, 1000mm x 1500mm, tarpaulin |  |  | pc
43 | Copper Rod, solid Ø 6mm (minimum) x 300mm long (Conductor) |  |  | pc
44 | Copper Sulfate, CuSO4, 100grams/bottle |  |  | bottle
45 | Copper wire AWG #16, solid |  |  | meter
46 | Cork Borers, 4mm to 20mm OD, 12borers/set |  |  | set
47 | Cork stopper for 250ml Erlenmeyer flask, with 1 hole |  |  | pc
48 | Cork stopper for 250ml Erlenmeyer flask, with 2 holes |  |  | pc
49 | Cork stopper for Ø 16mm test tube |  |  | pc
50 | Cup Anenometer with Wind Vane, handheld, digital direct reading |  |  | unit
51 | DC Ammeter |  |  | unit
52 | DC String Vibrator with String |  |  | unit
53 | DC Voltmeter |  |  | unit
54 | Development of an Embryo Chart, tarpaulin, 660mm x 500mm |  |  | pc
55 | Dissecting set |  |  | set
56 | Distillation Setup |  |  | set
| Distilling flask, 250ml |  |  | pc
| Condenser, Leibig-type (straight) |  |  | pc
| Rubber stopper for distilling flask w/ two 6mm holes; 60-70 Duro |  |  | pc
| Rubber stopper for condenser w/ one hole; 60-70 Duro |  |  | pc
| Rubber tube, Ø 10mm x 8mm x 2000mm long |  |  | lht
57 | Dry Cell Holder, for single size D dry cell, 4pcs/set |  |  | set
58 | Dry Cell Holder, single |  |  | pc
59 | Dry Cell, 9V, ISO Certified |  |  | pc
60 | Dry Cell, 1.5V, size D, ISO Certified |  |  | pc
61 | Erlenmeyer Flask, 250ml., borosilicate |  |  | pc
62 | Evaporating Dish, 75ml. Capacity |  |  | pc
63 | Experiment Module |  |  | pc
64 | Ferrous Sulfate, 100 grams/bottle |  |  | bottle
65 | Filter paper, ordinary, 24" x 24" sheet |  |  | sht
66 | Florence Flask, 250ml., borosilicate glass |  |  | pc
67 | Food Guide Pyramid Chart, tarpaulin, 660mm x 500mm |  |  | pc
68 | Free-Fall Apparatus (includes Solenoid, Pad Switch, Synchro Box, Timer, etc |  |  | set
69 | Friction Apparatus |  |  | set
70 | Fuse Holder with Fuse |  |  | pc
71 | Galvanometer |  |  | unit
72 | Gene Map of the Human Chromosome, tarpaulin, 660mm x 500mm |  |  | pc
73 | Gentian Violet, 100ml/bottle |  |  | bottle
74 | Glass Cover Slips, 100's/box |  |  | box
75 | Glass Funnel, Ø 50mm (Top Inside Diameter), length of stem: 75mm |  |  | pc
76 | Glass Rod, Solid, Ø 6mm (minimum) x 300mm long (Insulator) |  |  | pc
77 | Glass Slides, 72's/box |  |  | box
78 | Glass Tube, 3mm OD x 1200mm long (for experiments in capillarity) |  |  | lh
79 | Glass Tube, 6mm OD x 1200mm long (for experiments in capillarity) |  |  | lh
80 | Glass Tubes, Hematocrit, 100's/pack (for experiments in capillarity) |  |  | pack
81 | Glass Tubing, Ø 4mm x 1220mm long |  |  | lh
82 | Glass Tubing, Ø 6mm x Ø 4mm x 1220mm long |  |  | lht
83 | Graduated Cup, 250 ml. Capacity, plastic, transparent |  |  | pc
84 | Graduated Cylinder, 10ml cap, borosilicate |  |  | pc
85 | Graduated Cylinder, 10ml. Capacity |  |  | pc
86 | Graduated Cylinder, 100ml. Capacity |  |  | pc
87 | Graduated Cylinder, 100ml., borosilicate |  |  | pc
88 | Hand Gloves, acid/solvent-resistant, super nitrile |  |  | pair
89 | Hand Lens, at least 10x magnification |  |  | pc
90 | Hand Lens, at least 5x magnification |  |  | pc
91 | Hooked Masses
| 500gram Hooked Mass |  |  | pc
| 250gram Hooked Mass |  |  | pc
| 20gram Hooked Mass |  |  | pc
92 | Hooke's Law Apparatus |  |  | set
93 | Hydrochloric Acid (HCl), technical grade, 500ml/bottle |  |  | bottle
94 | Hydrometer, Specific Gravity: 0.700 - 2.000, 15" long |  |  | pc
95 | Iodine Solution, 100ml/bottle |  |  | bottle
96 | Knife Switch, SPST |  |  | pcs
97 | Laboratory Tong, stainless steel, 8 3/4 long |  |  | pc
98 | Lens Paper, 50's/pack |  |  | pack
99 | Level Assembly |  |  | assy
100 | Life Cycle of a Plant Chart, tarpaulin, 660mm x 500mm |  |  | pc
101 | Light Source |  |  | pc
102 | Litmus Paper Strips, blue, 100's/vial |  |  | vial
103 | Litmus Paper Strips, red, 100's/vial |  |  | vial
104 | Logic Gates Trainer Kit |  |  | unit
105 | Loudspeaker, ≥ 1 watt, all frequency or low range, 4-8 Ohms. |  |  | unit
106 | LPG Tank with gas, 11kg. Capacity, regulator & hose assembly |  |  | unit
107 | Magnesium Ribbon, 25grams/roll |  |  | roll
108 | Magnetic Compass |  |  | pc
109 | Manganese Dioxide, 50grams/bottle |  |  | bottle
110 | Map of Philippine Climates, 35" x 50", tarpaulin |  |  | unit
111 | Map of Philippine Volcanoes, 34" x 51", tarpaulin |  |  | unit
112 | Map of Stars, 48" x 54", tarpaulin |  |  | unit
113 | Map of World Climates, 42" x 42", tarpaulin |  |  | unit
114 | Medicine Dropper, 2ml. Capacity |  |  | pc
115 | Mendel's Law Charts:
| Monohybrid Cross Chart, tarpaulin, 660mm x 500mm |  |  | pc
| Dihybrid Cross Chart, tarpaulin, 660mm x 500mm |  |  | pc
116 | Meterstick, plastic |  |  | pc
117 | Microscope, Compound |  |  | unit
118 | Microscope's Immersion Oil, 100ml/bottle |  |  | bottle
119 | Miniature Bulb base (Socket), screw-type in rectangular plastic base, screw type binding posts |  |  | pc
120 | Miniature Bulb, 2.5V, screw-type |  |  | pc
121 | Miniature Light Bulb Base (Socket), 3pcs/set, with baseboard & binding posts |  |  | set
122 | Miniature Bulb, 1.35 to 2.5V, 0.06A or greater handling current, 3pcs/set |  |  | set
123 | Mirror Set (set o 3 mirrors) |  |  | set
124 | Model, Animal Meiosis |  |  | unit
125 | Model, Animal Mitosis |  |  | unit
126 | Model, Human Skeleton |  |  | unit
127 | Model, Human Torso |  |  | unit
128 | Mortar and Pestle, 150ml. Capacity |  |  | set
129 | Motor-Generator Model Experiment Set |  |  | set
130 | Multiclamp Assembly |  |  | assy
131 | Multimeter, Digital |  |  | unit
132 | Musical cards, Size A5 (210mm x 148mm) |  |  | pc
133 | Musical Instrument, miniature guitar |  |  | unit
134 | NSTIC-developed Heat Conductivity Apparatus |  |  | pc
135 | NSTIC-developed Thermocline Apparatus |  |  | pc
136 | Ø12.7mm x 1000mm long Stand Rod |  |  | pc
137 | Ø9.5mm x 250mm long Stand Rod |  |  | pc
138 | Ø9.5mm x 500mm long Stand Rod |  |  | pc
139 | Oil, vegetable, 100ml/bottle |  |  | bottle
140 | Open U-tube manometer with Simple Water Pressure App. Nakamura Type (and accs.) |  |  | unit
141 | Penlight, 2X" AA", aluminium alloy case |  |  | pc
142 | Petri Dish |  |  | pc
143 | Petri Dish, Ø 100mm (minimum) |  |  | pc
144 | Phenolphthalein Indicator, 100 grams/bottle |  |  | bottle
145 | Plant Cell Chart, tarpaulin, 660mm x 500mm |  |  | pc
146 | Plastic Rod, solid, Ø 6mm (minimum) x 300mm long (Insulator) |  |  | pc
147 | Plastic spoon, transparent, 15.24cm length |  |  | pc
148 | Poster on Basic Laboratory Apparatuses, 30" x 40", tarpaulin |  |  | pc
149 | Poster on Laboratory Safety Rules, 30" x 40", tarpaulin, wall mount |  |  | pc
150 | Poster: Layers of the Earth, 33" x 52", tarpaulin |  |  | unit
151 | Poster: The Richter Magnitude Scale, 33" x 52", tarpaulin |  |  | unit
152 | Potassium Chloride, 100grams/bottle |  |  | bottle
153 | Potassium Iodide (KI), 100grams/bottle |  |  | bottle
154 | Prism, right angle, acrylic, T=10mm; H=65mm or 90º x 45º x 45º; hyp: 75mm |  |  | pc
155 | Protractor, plastic, 180º, semi-circular, 15cm diameter (minimum) |  |  | pc
156 | Pulley Set
| Double Pulley Assembly |  |  | assy
| Single Pulley Assembly |  |  | assy
157 | Pyramid of Biomass Chart, 660mm x 500mm |  |  | pc
158 | Rain Gauge |  |  | unit
159 | Refraction Blocks (1 set is composed of 1 pc Glass & 1 pc Acrylic, semi-circular blocks |  |  | set
160 | Refraction Tank |  |  | unit
161 | Resistance Board, 3 boards/set |  |  | set
162 | Resonance Tube Set, close-ended |  |  | set
163 | Ring and Ball Apparatus |  |  | unit
164 | Ring with stem |  |  | pc
165 | Rock Samples Box, 24 compartments, minerals and 3 rock types |  |  | pc
166 | Rubber Stopper #0, with 1 hole |  |  | pc
167 | Rubber Stopper #0, without holes |  |  | pc
168 | Rubber Stopper #6, with 2 holes |  |  | pc
169 | Rubber Stopper for Ø 16mm test tube |  |  | pc
170 | Rubber Stopper for 250ml Erlenmeyer flask, with 1 hole |  |  | pc
171 | Rubber Stopper for 250ml Erlenmeyer flask, with 2 holes |  |  | pc
172 | Rubber Stopper for Ø 16mm test tube |  |  | pc
173 | Safety Goggles, polycarbonate |  |  | pair
174 | Seismograph Model |  |  | unit
175 | Set of Connectors:
| AWG #18, black, 250mm long with alligator clip and banana plug on ends |  |  | pc
| AWG #18, red, 250mm long with alligator clip and banana plug on ends |  |  | pc
| AWG #18, white, 250mm long with banana plugs on both ends |  |  | pc
| AWG #18, blue, 250mm long with banana plugs on both ends |  |  | pc
176 | Set of Tools |  |  | set
| Screwdriver, flat, 3/16" tip W x 6" L |  |  | pc
| Screwdriver, Phillips, Point size blade #3 x 6" long |  |  | pc
| Long Nose Pliers with side cutter, 6" |  |  | pr
| Mechanical-Wire Cutter and Pliers, 6" |  |  | pr
| Soldering Iron, 60 watts |  |  | pc
| Ball Peen Hammer, length including handle is 11", 350 grams |  |  | pc
| Precision Screwdrivers Set, 6 pcs, with plastic casing |  |  | set
| Tweezers, stainless steel, with curved tips, 6 1/2" long |  |  | pr
| Soldering Lead, Ø1mm, Grade 60/40, Wt.: 1 lb/spool |  |  | spool
| Soldering Paste, all purpose flux, 50 grams/can |  |  | can
177 | Slinky Coil, metal, Ø3" x 4" long |  |  | pc
178 | Sodium hydroxide (Lye), odorless white semi-transparent solids, 250grams/bottle |  |  | bottle
179 | Sodium Hydroxide (NaOH), pellets, 100grams/bottle, technical grade |  |  | bottle
180 | Sodium sulfate, 100 grams/bottle |  |  | bottle
181 | Solar System Model |  |  | unit
182 | Sound Signal Generator Kit |  |  | unit
183 | Spare Parts:
| Worm with Axle Assembly of the Motorized Cart |  |  | assy
| Worm Gear A of the Motorized Cart |  |  | pc
| Spur Gear B of the Motorized Cart |  |  | pc
| Spur Gear C of the Motorized Cart |  |  | pc
184 | Spring Balances:
| 10-Newton Spring Balance Assembly |  |  | assy
| 5-Newton Spring Balance Assembly |  |  | assy
| 2-Newton Spring Balance Assembly |  |  | assy
185 | Stainless steel metal screw #6; 6mm x 3" |  |  | pc
186 | Stand Base Assembly |  |  | assy
187 | Stand Support |  |  | pc
188 | Steel Rod, solid, Ø 6mm (minimum) x 300mm long (Conductor) |  |  | pc
189 | Stirring Rod, Ø 6mm x 250mm long |  |  | pc
190 | Stopwatch, Digital |  |  | pc
191 | Storage Cabinet for corrosive materials, PP |  |  | unit
192 | Storage Cabinets:
| Integrated Science Storage Cabinet |  |  | pc
| Biology Storage Cabinet |  |  | pc
| Chemistry Storage Cabinet |  |  | pc
| Physics Storage Cabinet |  |  | pc
193 | Student Optical Bench Set with Meterstick |  |  | set
194 | Sulfur Powder, 100grams/bottle |  |  | bottle
195 | Sun-Earth-Moon Model |  |  | unit
196 | Switch, knife-type |  |  | unit
197 | Syringe, 10ml. Capacity, glass |  |  | pcs
198 | Syringe, 10ml. Capacity, glass without needle |  |  | pc
199 | Telescope, Astronomical |  |  | unit
200 | Terrestrial Globe, Ø 12 inches |  |  | unit
201 | Test Tube Brush |  |  | pc
202 | Test Tube Holder |  |  | pc
203 | Test Tube Rack |  |  | pc
204 | Test Tube, Ø16mm x 150mm long |  |  | pc
205 | Ticker Timer Set, 6-12V |  |  | sets
206 | Transformer (Set of Coils) |  |  | set
207 | Triangular File, 6" long, with handle |  |  | pc
208 | Tripod |  |  | pc
209 | Tuning Fork Set (set of 8 tuning forks) |  |  | set
210 | Tweezers, 6 1/2" long, stainless steel, self-closing, with wood handle & serrated jaws |  |  | pair
211 | Universal Bosshead Assembly |  |  | assy
212 | Universal Clamp Assembly |  |  | assy
213 | Universal pH Paper, pH 0-14, 100 strips/pack |  |  | pack
214 | User's Manual (Basic Science) |  |  | pc
215 | User's Manual (Mechanics) |  |  | pc
216 | U-shaped Magnet, 3"L 3"W x 3/4"thick |  |  | pc
217 | Variable Power Supply with 5 pcs. Terminal Board |  |  | unit
218 | Vial, Ø 1mm x 75mm long |  |  | pc
219 | Wash Bottle, plastic, 250ml. |  |  | pc
220 | Watch Glass, Ø 90mm |  |  | pc
221 | Wire Gauze |  |  | pc
222 | Wire Stripper |  |  | pc
223 | Wood Rod, solid, Ø 6mm (minimum) x 300mm long (Insulator) |  |  | pc
224 | Yeast, granules, active dry yeast, 100grams/bottle |  |  | bottle
225 | Zinc Nitrate, 100grams/bottle |  |  | bottle
226 | Zinc Pellets, 100grams/bottle |  |  | bottle